| EAN 5901804422478 | CB NUMBER T3501 |
| --- | --- |
| Vendor Art. Number |  |

ALEX

# Main description

Simple and stylish. Ideally fits in both, classic and modern bathrooms and kitchens. The curved tube C and the space between the towel rail’s sections allow easy hanging of the fabric to dry.

# Key points

- Classic design

- Easy hanging of the fabric to dry

# Features and benefits

- Highest quality low carbon steel ensuring product longevity

- Oxsilan® passive rust protection process

- High quality double layer powder coating

- 8 years warranty for water tightness and paint coating

- Increased resistance to chemicals, temperature variations and mechanical damage

- Easy cleaning and maintenance

- Easy installation (solid wall fixing kit included)

- Made to EN 10305-5

# Specifications

| Height (mm): | 1140 |
| --- | --- |
| Width (mm): | 500 |
| Depth (mm): | 100 |
| Colour: | Modern Grey |
| Heat output (W): | 591 |
| Heat output (BTUs): | 2017 |
| Connection type: | SX |
| Connection spacing (mm): | 470 |
| Wall to centre of inlet (mm): | 57 - 65 |
| Operating pressure (MPa): | 1 |
| Maximum operating temperature (°C): | 95 |
| Material: | Carbon steel |
| Surface finish: | Powder coating |
| Weight (kg): | 12,71 |

Connection diagram

Sporządziła:  Jagielska Magdalena 20170817

Poprawił: Danek Tomasz Terma Sp. z o.o. 2017-08-22