| EAN 5901804191350 | OPCO NUMBER T2003 |
| --- | --- |
| Vendor Art. Nr 1804191350 |  |

Aire

# Main description

New technologies allow radiator designers to introduce new and uncommon forms. Original design, highest quality and functionality make Aire a great choice not only for bathrooms, but also for other spaces in modern interiors.

# Key points

- Unique form

- Original and functional decorative element

- Ultimate minimalism and practical value

# Features and benefits

- Highest quality low carbon steel ensuring product longevity

- Every rail 100% leak tested

- Oxsilan® passive rust protection process

- Great towel hanging capability

- High quality double layer powder coating

- Up to 8 Year Guarantee

- Increased resistance to chemicals, temperature variations and mechanical damage

- Easy installation (solid wall fixing kit included)

- Easy cleaning and maintenance

- Made to EN 10305-5

- Bleed valve included

# Specifications

| Height (mm): | 1555 |
| --- | --- |
| Width (mm): | 300 |
| Depth (mm): | 32 |
| Colour: | Winter Sky |
| Heat output (W): | 600 |
| Heat output (BTUs): | 2047 |
| Connection type: | ZX |
| Connection spacing: | 50 |
| Wall to centre of inlet (mm): | 67-75 |
| Operating pressure (MPa): | 1 |
| Maximum operating temperature (°C): | 95 |
| Material: | Carbon steel |
| Surface finish: | Powder coating |
| Weight (kg): | 10.3 |

Connection diagram