| EAN 5901804422577 | CB NUMBER 3610 |
| --- | --- |
| Vendor Art. Number |  |

EASY ONE

# Main description

The Easy is an all-electric towel rail enriched by the built-in One electric heating element. The heating element hidden in the Easy’s collector blends invisibly with its shape – without the need for an additional, external electric device. One is a practical and easy to use heating element which does not dominate the Easy radiator with its form. Easy owes its original look to a seamless connection between tubes and collectors. Simple, modern design can delight even the most demanding users.

# Key points

- All-electric towel rail

- Simple and modern design

- Easy hanging of the fabric to dry

- Functional built-in One electric heating element

# Features and benefits of the Easy radiator

- Highest quality low carbon steel ensuring product longevity

- Oxsilan® passive rust protection process

- High quality double layer powder coating

- 8 years warranty for water tightness and paint coating

- Increased resistance to chemicals, temperature variations and mechanical damage

- Easy cleaning and maintenance

- Easy installation (solid wall fixing kit included)

- Made to EN 10305-5

# Features and benefits of the One heating element

- Two operation modes: heating and drying

- TIMER function (automatically switches off the device after 2 hours)

- Ultra-low power consumption in standby mode (< 0,5 W)

- Device settings are remembered also after electricity cut-off, which makes it possible to work with external timers or intelligent building systems

- Option of adding extra functions by means of the built-in infrared link

- Protection against operation in dry conditions and double protection against radiator overheating

- Frost protection (ANTIFREEZE)

# Specifications

| Height (mm): | 960 |
| --- | --- |
| Width (mm): | 200 |
| Depth (mm): | 70 |
| Colour: | Sparkling gravel |
| Heat output (W): | 200 |
| Heat output (BTUs): | 682 |
| Connection type: | E8 |
| Connection spacing (mm): | N/A |
| Wall to centre of inlet (mm): | N/A |
| Operating pressure (MPa): | 0,8 |
| Maximum operating temperature (°C): | 60 |
| Material: | Carbon steel |
| Surface finish: | Powder coating |
| Weight (kg): | 7,25 |

Connection diagram

Sporządziła:  Jagielska Magdalena 20170817

Poprawił: Danek Tomasz Terma Sp. z o.o. 2017-08-22