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Ouse
Main description
Fancy radiator perfectly reconciling decorative function and usability. It makes a real statement both in bathrooms and living rooms.


Key points
· Unique form and finish
· Original and functional decorative element
· Minimalism and pragmatism taken to extremes
Features and benefits
· Highest quality low carbon steel ensuring product longevity
· Great towel hanging capability
· Easy installation (solid wall fixing kit included)
· Made to EN 10305-5
· Easy cleaning and maintenance
· Hand polished surface ensuring state-of-the-art galvanic coating
Specifications
	Height (mm): 		
	1437

	Width (mm): 		
	500

	Depth (mm): 		
	95

	Colour: 			
	Galvanic Old Copper

	Heat output (W): 		
	391

	Heat output (BTUs):
	1334

	Connection type:	
	ZX

	Connection spacing:
	50

	Wall to centre of inlet (mm):	
	73-88

	Operating pressure (MPa):	
	1

	Maximum operating temperature (°C):
	95

	Material:
	Carbon steel

	Surface finish:
	Galvanic coating

	Weight (kg):
	14.8
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