| EAN 5901804191053 | CB NUMBER T1202 |
| --- | --- |
| Vendor Art. Nr 1804191053 |  |

SALISBURY

# Main description

Classic radiator distinguished by a functional arrangement of profiles, allowing easy access to towel rails. Can make a statement in any bathroom, kitchen or recreational space. Features robust rectangular profiles and a frame with rounded sides.

# Key points

- Simplicity and style

- High power output

- A form which is both minimalist and sophisticated

- Adheres very close to the wall

# Features and benefits

- Highest quality low carbon steel ensuring product longevity

- Excellent heat output

- Every rail 100% leak tested

- Great towel hanging capability

- Oxsilan® passive rust protection process

- High quality double layer powder coating

- Up to 8 Year Guarantee

- Increased resistance to chemicals, temperature variations and mechanical damage

- Easy installation (solid wall fixing kit included)

- Made to EN 10305-5

- Easy cleaning and maintenance

# Specifications

| Height (mm): | 1635 |
| --- | --- |
| Width (mm): | 540 |
| Depth (mm): | 40 |
| Colour: | Noble Brown |
| Heat output (W): | 794 |
| Heat output (BTUs): | 2709 |
| Connection type: | SX |
| Connection spacing (mm): | 500 |
| Wall to centre of inlet (mm): | 57-65 |
| Operating pressure (MPa): | 0.8 |
| Maximum operating temperature (°C): | 95 |
| Material: | Carbon steel |
| Surface finish: | Powder coating |
| Weight (kg): | 24.4 |

Connection diagram